## Complete Asset Register
Ref | Area | Location / Address | Eircode | Fire Alarm Panels (No.) | Manufacturer | Conventional / Addressable | No. of Devices | Monitored (Y/N) | No. of Emergency Light Fittings | CTU (Y/N) | PFE (No. and Type) | Dry Risers (No. of Stacks) | No. of Inlets | No. of Outlets | Hydrants | Hose Reels | Automatic Opening Vents | Air Sampling
1.1 | Northeast | Allingham Street 5 | D08 Y5R9 | 1 | CTEK | Addressable | 7 | N | 6 | Yes | 4 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.2 | Northeast | Allingham Street 11 | D08 Y5R9 | 1 | CTEK | Addressable | 7 | N | 6 | Yes | 4 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.3 | Northeast | Allingham Street Communal | D08 Y5R9 | 1 | CTEK | Addressable | 7 | N | 6 | Yes | 4 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.4 | Northeast | Avondale Park 1 | D15 T92F | 1 | My Pro | Conventional | 11 | N | 12 | Yes | 6 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.5 | Northeast | Avondale Park 2 | D15 T92F | 1 | My Pro | Conventional | 11 | N | 12 | Yes | 6 | n/a | n/a | n/a | 1 | n/a | n/a | n/a
1.6 | Northeast | Avondale Park 3 | D15 T92F | 1 | My Pro | Conventional | 11 | N | 12 | Yes | 6 | n/a | n/a | n/a | 1 | n/a | n/a | n/a
1.7 | Northeast | Avondale Park 4 | D15 T92F | 1 | My Pro | Conventional | 11 | N | 12 | Yes | 6 | n/a | n/a | n/a | 1 | n/a | n/a | n/a
1.8 | Northeast | Avondale Park 5 | D15 T92F | 1 | My Pro | Conventional | 11 | N | 12 | Yes | 6 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.9 | Northeast | Avondale Park 6 | D15 T92F | 1 | My Pro | Conventional | 11 | N | 12 | Yes | 6 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.1 | Northeast | Annesley Court , North Strand | D03 V1W6 | 1 | Morley | Addressable | 98 | N | 54 | Yes | 12 | n/a | n/a | n/a | n/a | n/a | 1 | 1
1.11 | Northeast | Belvedere Court | D01 A3H0 | 1 | Morley | Addressable | 140 | N | 42 | Yes | 18 | n/a | n/a | n/a | n/a | n/a | 1 | 1
1.12 | Northeast | Blackhall Street 35 | D07 XN28 | 1 | CTEK | Addressable | 11 | N | 7 | Yes | 6 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.13 | Northeast | Brookfield Apartments | D08 X98N | 2 | Morley | Addressable | 348 | N | 177 | Yes | 102 | 14 | n/a | n/a | n/a | n/a | 2 | 2
1.14 | Northeast | Calderwood Court | D09 DK79 | 1 | CTEK | Conventional | 52 | N | 32 | Yes | 12 | n/a | n/a | n/a | n/a | n/a | 1 | n/a
1.15 | Northeast | Camac Crescent B | D08 A316 | 1 | CTEK | Addressable | 18 | N | 24 | Yes | 12 | 1 | n/a | n/a | n/a | n/a | 1 | n/a
1.16 | Northeast | Camac Crescent H | D08 A316 | 1 | CTEK | Addressable | 18 | N | 24 | Yes | 12 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.17 | Northeast | Camac Crescent J | D08 A316 | 1 | CTEK | Addressable | 18 | N | 24 | Yes | 12 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.18 | Northeast | Cardy Rock Court 1 | K32 K243 | 1 | Apollo | Addressable | 35 | N | 12 | Yes | 12 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.19 | Northeast | Cardy Rock Court 2 | K32 K243 | 1 | Apollo | Addressable | 35 | N | 12 | Yes | 12 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.2 | Northeast | Castlegrange Heights Communal | K67 EV59 | 1 | CTEK | Addressable | 8 | N | 10 | Yes | 2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.21 | Northeast | Craigie Court 1 | D11 XH33 | 1 | Baldwin | Addressable | 48 | N | 21 | Yes | 14 | n/a | n/a | n/a | 1 | n/a | n/a | n/a
1.22 | Northeast | Craigie Court 2 | D11 XH33 | 1 | Baldwin | Addressable | 48 | N | 21 | Yes | 14 | n/a | n/a | n/a | 1 | n/a | n/a | n/a
1.23 | Northeast | Craigie Court 3 | D11 XH33 | 1 | Baldwin | Addressable | 48 | N | 21 | Yes | 14 | n/a | n/a | n/a | 1 | n/a | n/a | n/a
1.24 | Northeast | Craigie Court Car Park | D11 XH33 | 1 | Baldwin | Addressable | 48 | N | 21 | Yes | 14 | n/a | n/a | n/a | 1 | n/a | n/a | n/a
1.25 | Northeast | Clonshaugh Apartments | D17 K061 | 1 | Morley | Addressable | 340 | N | 92 | Yes | 22 | n/a | n/a | n/a | n/a | n/a | 1 | 1
1.26 | Northeast | Deakin Court 1 | D03 C6YO | 1 | My Pro | Addressable | 26 | N | 34 | Yes | 68 | n/a | n/a | n/a | 2 | n/a | 1 | 1
1.27 | Northeast | Deakin Court 2 | D03 C6YO | 1 | My Pro | Addressable | 26 | N | 34 | Yes | 68 | n/a | n/a | n/a | n/a | n/a | 1 | 1
1.28 | Northeast | Deakin Court 3 | D03 C6YO | 1 | My Pro | Addressable | 26 | N | 34 | Yes | 68 | n/a | n/a | n/a | n/a | n/a | 1 | 1
1.29 | Northeast | Deakin Court 4 | D03 C6YO | 1 | My Pro | Addressable | 26 | N | 34 | Yes | 68 | n/a | n/a | n/a | n/a | n/a | 1 | 1
1.3 | Northeast | Deakin Court Car Park | D03 C6YO | 1 | My Pro | Addressable | 26 | N | 34 | Yes | 68 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.31 | Northeast | Greenlawns Communal | D09 DK79 | 1 | CTEK | Conventional | 4 | N | 4 | Yes | N/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.32 | Northeast | Halliday Mills A | A91 XF58 | 1 | Mag Pro | Addressable | 185 | Y | 180 | Yes | 76 | n/a | n/a | n/a | n/a | n/a | 1 | 1
1.33 | Northeast | Halliday Mills B | A91 XF58 | 1 | Mag Pro | Addressable | 185 | Y | 180 | Yes | 76 | n/a | n/a | n/a | n/a | n/a | 1 | 1
1.34 | Northeast | 348 Harolds Cross Road | D6W FE43 | 3 | Advanced | Addressable | 277 | N | 144 | Yes | 33 | n/a | n/a | n/a | 2 | n/a | 2 | 2
1.35 | Northeast | Island Key Main | D03 RT20 | 1 | Apollo | Addressable | 203 | N | 158 | Yes | 74 | 3 | 3 | 11 | 2 | 2 | 20 | n/a
1.36 | Northeast | Iris Court | D07 KC7P | 1 | CTEK | Addressable | 229 | N | 56 | Yes | 16 | n/a | n/a | n/a | n/a | n/a | 1 | 1
1.37 | Northeast | McDermott Apartments 25 | D01 ET97 | 1 | CTEK | Addressable | 22 | N | 14 | Yes | 36 | n/a | n/a | n/a | n/a | n/a | 3 | n/a
1.38 | Northeast | McDermott Apartments 27 | D01 ET97 | 1 | CTEK | Addressable | 22 | N | 14 | Yes | 36 | n/a | n/a | n/a | n/a | n/a | 3 | n/a
1.39 | Northeast | McDermott Apartments 29 | D01 ET97 | 1 | CTEK | Addressable | 22 | N | 14 | Yes | 36 | n/a | n/a | n/a | n/a | n/a | 3 | n/a
1.4 | Northeast | McDermott Apartments 31 | D01 ET97 | 1 | CTEK | Addressable | 22 | N | 14 | Yes | 36 | n/a | n/a | n/a | n/a | n/a | 3 | n/a
1.41 | Northeast | MacDermott Apartments Communal | D01 ET97 | 1 | CTEK | Addressable | 22 | N | 14 | Yes | 36 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.42 | Northeast | McCleans | D08 W6XY | 1 | CTEK | Addressable | 11 | N | 7 | Yes | 6 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.43 | Northeast | Merville Court | D03 DC91 | 1 | Menter | Conventional | 19 | N | 14 | Yes | 4 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.44 | Northeast | Newcourt Block 1 | D08 N1F7 | 1 | CTEK | Addressable | 15 | N | 12 | Yes | 51 | n/a | n/a | n/a | n/a | n/a | 1 | n/a
1.45 | Northeast | Newcourt Block 5 | D08 N1F7 | 1 | CTEK | Addressable | 15 | N | 12 | Yes | 0 | n/a | n/a | n/a | n/a | n/a | 1 | n/a
1.46 | Northeast | Newcourt Block 7 | D08 N1F7 | 1 | CTEK | Addressable | 15 | N | 12 | Yes | 0 | n/a | n/a | n/a | n/a | n/a | 1 | n/a
1.47 | Northeast | Newcourt Block 9 | D08 N1F7 | 1 | CTEK | Addressable | 15 | N | 12 | Yes | 0 | n/a | n/a | n/a | n/a | n/a | 1 | n/a
1.48 | Northeast | Newcourt Block 15 | D08 N1F7 | 1 | CTEK | Addressable | 15 | N | 12 | Yes | 0 | n/a | n/a | n/a | n/a | n/a | 1 | n/a
1.49 | Northeast | Newcourt Communal Room | D08 N1F7 | 1 | CTEK | Addressable | 15 | N | 12 | Yes | 0 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.5 | Northeast | Newtown Court 111 Office | D17 X789 | 1 | Gent | Conventional | 18 | N | 12 | Yes | 56 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.51 | Northeast | Newtown Court Block A | D17 X789 | 2 | Gent | Conventional | 18 | N | 12 | Yes | 0 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.52 | Northeast | Newtown Court Block B | D17 X789 | 2 | Gent | Conventional | 18 | N | 12 | Yes | 0 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.53 | Northeast | Newtown Court Block C | D17 X789 | 2 | Gent | Conventional | 18 | N | 12 | Yes | 0 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.54 | Northeast | Newtown Court Block D | D17 X789 | 2 | Gent | Conventional | 18 | N | 12 | Yes | 0 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.55 | Northeast | Newtown Court Block E | D17 X789 | 2 | Gent | Conventional | 18 | N | 12 | Yes | 0 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.56 | Northeast | Newtown Court Block F | D17 X789 | 2 | Gent | Conventional | 18 | N | 12 | Yes | 0 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.57 | Northeast | Newtown Court Block G | D17 X789 | 2 | Gent | Conventional | 18 | N | 12 | Yes | 0 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.58 | Northeast | Newtown Court Block H | D17 X789 | 2 | Gent | Conventional | 18 | N | 12 | Yes | 0 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.59 | Northeast | Parslickstown Court 5 | D15 E4HE | 1 | CTEK | Conventional | 10 | N | 8 | Yes | 4 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.6 | Northeast | Parslickstown Court 11 | D15 E4HE | 1 | CTEK | Conventional | 10 | N | 8 | Yes | 4 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.61 | Northeast | Parslickstown Court 32 | D15 E4HE | 1 | CTEK | Conventional | 10 | N | 8 | Yes | 4 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.62 | Northeast | Parslickstown Court 53 | D15 E4HE | 1 | CTEK | Conventional | 10 | N | 8 | Yes | 4 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.63 | Northeast | Pinewood Green Court | K32 NH95 | 1 | CTEK | Conventional | 4 | N | 3 | Yes | 2 | n/a | n/a | n/a | 1 | n/a | n/a | n/a
1.64 | Northeast | Portland Row 22 | D01 A0E1 | 1 | CTEK | Addressable | 5 | N | 3 | Yes | 2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.65 | Northeast | Queen Street Main | D07 CD90 | 1 | CTEK | Addressable | 18 | N | 10 | Yes | 3 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.66 | Northeast | Earl Street South 38 | D08 K316 | 1 | CTEK | Addressable | 18 | N | 8 | Yes | 29 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.67 | Northeast | Earl Street South 39 | D08 K316 | 1 | CTEK | Addressable | 18 | N | 8 | Yes | 0 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.68 | Northeast | Earl Street South 41 | D08 K316 | 1 | CTEK | Addressable | 18 | N | 8 | Yes | 0 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.69 | Northeast | St Canice’s Hall Block A | D11 PT3K | 1 | Morley | Addressable | 30 | N | 36 | Yes | 11 | n/a | n/a | n/a | n/a | n/a | 1 | 1
1.7 | Northeast | St Canice’s Hall Block B | D11 PT3K | 1 | Morley | Addressable | 30 | N | 36 | Yes | 11 | n/a | n/a | n/a | n/a | n/a | 1 | 1
1.71 | Northeast | St Mary's, Dunboyne, Block 1 | A86 AE67 | 1 | CTEK | Conventional | 6 | N | 8 | Yes | 2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.72 | Northeast | St Mary's, Dunboyne, Block 2 | A86 AE67 | 1 | CTEK | Conventional | 6 | N | 8 | Yes | 2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.73 | Northeast | Summer Street South 35 | D08 V6P0 | 1 | CTEK | Addressable | 12 | N | 7 | Yes | 6 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.74 | Northeast | Summer Street South 37 | D08 V6P0 | 1 | CTEK | Addressable | 12 | N | 7 | Yes | 6 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.75 | Northeast | Summer Street South 43 | D08 V6P0 | 1 | CTEK | Addressable | 12 | N | 7 | Yes | 6 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.76 | Northeast | Townsend Street 63 | D02 AE37 | 1 | CTEK | Addressable | 15 | N | 15 | Yes | 8 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.77 | Northeast | Townsend Street 64 | D02 AE37 | 1 | CTEK | Addressable | 15 | N | 15 | Yes | 8 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.78 | Northeast | Townsend Street 65 | D02 AE37 | 1 | CTEK | Addressable | 15 | N | 15 | Yes | 8 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.79 | Northeast | Townsend street 66A | D02 AE37 | 1 | CTEK | Addressable | 15 | N | 15 | Yes | 8 | n/a | n/a | n/a | n/a | n/a | 1 | n/a
1.8 | Northeast | Townsend Street 66B | D02 AE37 | 1 | CTEK | Addressable | 15 | N | 15 | Yes | 8 | n/a | n/a | n/a | n/a | n/a | 1 | n/a
1.81 | Northeast | Townsend Street Communal room | D02 AE37 | 1 | CTEK | Addressable | 3 | N | 4 | Yes | 2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.82 | Northeast | Weavers Wood Block 1 | D17 C7DX | 1 | My Pro | Addressable | 25 | N | 27 | Yes | 6 | n/a | n/a | n/a | 1 | n/a | 1 | 1
1.83 | Northeast | Weavers Wood Block 2 | D17 C7DX | 1 | My Pro | Addressable | 25 | N | 27 | Yes | 5 | n/a | n/a | n/a | 1 | n/a | 1 | 1
1.84 | Northeast | Westcourt 18 | D08 W86E | 1 | CTEK | Addressable | 8 | N | 9 | Yes | 4 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.85 | Northeast | Westcourt Communal room | D08 W86E | 1 | CTEK | Addressable | 8 | N | 9 | Yes | 2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.86 | Northeast | Weavers Square | D08 RHH4 | 1 | Advanced | Addressable | 80 | N | 25 | Yes | 8 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.87 | Northeast | First Lock Apartments Block 1 | D12 W27Y | 1 | Advanced | Addressable | 212 | N | 132 | Yes | 46 | n/a | n/a | n/a | n/a | n/a | 3
1.88 | Northeast | First Lock Apartments Block 2 | D12 W27Y | 1 | Advanced | Addressable | 332 | N | 208 | Yes | 68 | n/a | n/a | n/a | n/a | n/a | 3
1.89 | Northeast | Rosemount Gate | D6W X207 | 1 | Hoichiki | Addressable | 263 | N | 94 | Yes | 22 | n/a | n/a | n/a | n/a | n/a | 1 | 1
1.9 | Northeast | Guildford House | D01 H0A2 | 1 | Apollo | Addressable | 87 | N | 47 | Yes | 28 | n/a | n/a | n/a | n/a | n/a | 1 | 1
1.91 | Northeast | Blackhorse Avenue | D07 W65P | 1 | Apollo | Addressable | 186 | N | 82 | Yes | 38 | n/a | n/a | n/a | n/a | n/a | 1 | 1
1.92 | Northeast | Guillion Park Block A | A91 HC0H | 2 | Global | Addressable | 323 | N | 151 | Yes | 22 | n/a | n/a | n/a | n/a | n/a | 1 | 1
1.93 | Northeast | Guillion Park Block B | A91 HC0H | 2 | Global | Addressable | 323 | N | 151 | Yes | 22 | n/a | n/a | n/a | n/a | n/a | 1 | 1
1.94 | Northeast | Guillion Park Block E | A91 HC0H | 1 | Global | Addressable | 108 | N | 33 | Yes | 8 | n/a | n/a | n/a | n/a | n/a | 1 | 1
1.95 | Northeast | Guillion Park Block D | A91 HC0H | 1 | Global | Addressable | 108 | N | 33 | Yes | 8 | n/a | n/a | n/a | n/a | n/a | 1 | 1
1.96 | Northeast | Guillion Park Block C | A91 HC0H | 1 | Global | Addressable | 108 | N | 33 | Yes | 8 | n/a | n/a | n/a | n/a | n/a | 1 | 1
1.97 | Southeast | Kilcronan Court/Place (6 Blocks & Community Building) - Dublin South | D10 XY88 | 7 | 1 x C-Tec 6 x Apollo | 1 x Addressable 6 x Conventional | 93 | No | 67 | Yes | 26 x 6L Water 13 x 2kg CO2 | n/a | n/a | n/a | n/a | n/a | 1 | n/a
1.98 | Southeast | Avonbeg, Tallaght (Avonbeg Court Block 1 & 2, Avonbeg Gardens) - Dublin South | D24 XP71 | 3 | 2 x C-Tec 1 x Apollo | 2 x Addressable 1 x Conventional | 73 | No | 32 | Yes | 18 x 6L Water 9 x 2kg CO2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.99 | Southeast | Drinagh Park, Leopardstown (No.5 and No.25 Drinagh Park) - Dublin South | D18 CC90 | 2 | Morley | Addressable | 65 | No | 21 | Yes | 10 x 6L Water 4 x 2kg CO2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.1 | Southeast | Killinarden Boxing Club, Tallaght - Dublin South | D24 NVF8 | 1 | Zeta | Conventional | 13 | No | 13 | Yes | N/A - None | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.101 | Southeast | Riverside Apartments, Loughlinstown - Dublin South | A96 R792 | 1 | Gent Vigilian | Addressable | 201 | No | 95 | Yes | 2 x 6L Water 16 x 6kg Powder 2 x 2kg CO2 | n/a | n/a | n/a | 5 | n/a | 1 | n/a
1.102 | Southeast | Auburn Lodge - Auburn Road, Cabinteely, Dublin 18 (Block 1-3) - Dublin South | A96 ED35 | 3 | C-Tec | Addressable | 154 | No | 91 | Yes | 30 x 6L Water 7 x 6kg Powder 4 x 5kg CO2 18 x 2kg CO2 | n/a | n/a | n/a | 3 | n/a | 3 | n/a
1.103 | Southeast | St. Finians - Dublin South | K78 NV38 | 1 | Apollo | Conventional | 15 | No | 6 | Yes | 4 x 6L Water 2 x 2kg CO2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.104 | Southeast | The Sycamores, Rockfield, Dundrum - Dublin South | D16 YK83 | 1 | Vigilian Gent | Addressable | 75 | No | 24 | Yes | 12 x 6L Water 2 x 2kg CO2 | n/a | n/a | n/a | n/a | n/a | 1 | Yes
1.105 | Southeast | Rockville Hall, Carrickmines (1 Block) - Dublin South | D18KWF2 | 1 | Apollo | Addressable | 74 | No | 53 | Yes | 5 x 6L Water 6 x 6kg Powder 5 x 2kg CO2 1 x 5kg CO2 | 1 | 1 | 5 | n/a | n/a | n/a | n/a
1.106 | Southeast | Loughlinstown View - Dublin South | A96FD8V | 8 | Apollo | Addressable | 313 | No | 101 | Yes | 32 x 6L Water 16 x 2kg CO2 | n/a | n/a | n/a | 2 | n/a | n/a | n/a
1.107 | Southeast | St.Germaine, Ballybrack - Dublin South | A96 EV2X | 1 | Hochiki | Addressable | 262 | Yes | 112 | Yes | 19 x 6L Water 7 x 6kg Powder 10 x 2kg CO2 1 x 5kg CO2 | 1 | 1 | 5 | n/a | 2 | 1 | Yes
1.108 | Southeast | Tandy's House, Lucan - Dublin South | K78 W2R7 | 1 | C-Tec | Addressable | 61 | No | 65 | Yes | 10 x 6L Water 5 x 2kg CO2 | 1 | 1 | 5 | n/a | n/a | 1 | n/a
1.109 | Southeast | Parson's Court, Newcastle - Dublin South | D22 F5C9 | 1 | C-Tec | Addressable | 27 | No | 10 | Yes | 4 x 6L Water 1 x 2kg CO2 |  |  |  | n/a | n/a | 1 | n/a
1.11 | Southeast | Caldbeck Park, Clondalkin - Dublin South | D22 XW5Y | 3 | Hochiki | Addressable | 338 | No | 119 | Yes | 28 x 6L Water 28 x 2kg CO2 | 3 | 3 | 15 | n/a | n/a | 6 | n/a
1.111 | Southeast | Palmersgate (OMC) 5 apartments have stand alone ELS systems for special needs occupants/high level care - Dublin South | D20 PW40 | n/a | n/a | n/a | n/a | n/a | 25 | Yes | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.112 | Southeast | Grove Court, Newbridge - Kildare | W12 VX32 | 2 | Apollo | Conventional | 36 | No | 10 | Yes | 8 x 6L Water 2 x 2kg CO2 | n/a | n/a | n/a | n/a | n/a | 2 | n/a
1.113 | Southeast | Friary House, Naas - Kildare | W91 F1WH | 1 | Hochiki | Addressable | 40 | No | 16 | Yes | 6 x 6L Water 2 x 2kg CO2 | n/a | n/a | n/a | n/a | n/a | 1 | n/a
1.114 | Southeast | Rathvoy Park , Naas - Kildare | W91 NWY4 | 13 | 12 x Hochiki 1 x Morley | 12 x Addressable 1 x Conventional | 432 | No | 89 | Yes | 60 x 6L Water 17 x 2kg CO2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.115 | Southeast | Hillview Apartments, Leixlip - Kildare | W23 PW8D | 1 | C-Tec | Addressable | 11 | No | 14 | Yes | 2 x 6L Water 2 x 2kg CO2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.116 | Southeast | Court Keep, Tullow - Carlow | R93XN96 | 1 | Morley | Addressable | 72 | No | 18 | Yes | 2 x 6L Water 2 x 2kg CO2 1 x 6L Foam 1 x 6L Foam F.free 1 x 6kg Powder ABC | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.117 | Southeast | Hazelbrook, Rathnew (1-3), (4-7), (8-11), (13-16), (24-27) - Wicklow | A67N920 | 5 | C-Tec | Conventional | 91 | No | 37 | Yes | 40 x 6L Water 20 x 2kg CO2 | n/a | n/a | n/a | n/a | n/a | 5 | n/a
1.118 | Southeast | Kilruddery , Bray (4 Blocks) - Wicklow | A98R9X6 | 4 | Hochiki | Addressable | 1264 | Yes | 430 | Yes | 19 x 6L Water 32 x 6L Water + addit. 20 x 2kg CO2 4 x 5kg CO2 4 x 9kg Powder ABC 11 x 6L Foam | 4 | 4 | 24 | 5 | n/a | 4 | n/a
1.119 | Southeast | Altidore Gardens, NewtownM.Kenn. - Wicklow | A63 X4T8 | 4 | Hochiki | Addressable | 519 | No | 236 | Yes | 24 x 6L Water 12 x 2kg CO2 | n/a | n/a | n/a | n/a | n/a | 12 | n/a
1.12 | Southeast | The Glen (170-178), (179-187), (206-214), (215-223) - Laois | R32 XA06 | 4 | 2 x Hochiki 2 x Apollo | 2 x Addressable 2 x Conventional | 206 | No | 100 | Yes | 24 x 6L Water 16 x 2kg CO2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.121 | Southeast | Sea View, Rosslare - Wexford | Y35 KC9R | 3 | C-Tec | Addressable | 105 | No | 36 | Yes | 12 x 6L Water 6 x 2kg CO2 | n/a | n/a | n/a | n/a | n/a | 6 | n/a
1.122 | Southwest | Carrig Court Block 1, 2 & 3 - Cork City | T12C67E | 3 | Global | Addressable | 217 | Yes | 158 | Yes | 36 - 17 x 2Kg CO2 | n/a | n/a | n/a | n/a | 3 | n/a | n/a
1.123 | [10 empty] | 3 x 5Kg CO2
1.124 | [10 empty] | 11 x 6L Foam
1.125 | [10 empty] | 5 x 6L Water
1.126 | Southwest | Fernwood Glanmire (178-181) & (182-185) - Cork City | T45V225 | 2 | C-Tec Series 65 | Addressable | 40 | Yes | 109 | Yes | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.127 | Southwest | Grattan Court Block A & B, Grattan Hill - - Cork City | T23WFK6 | 2 | Advance CP 95 |  | 40 | Yes | 100 | Yes | 8 CO2 x 2kg/ 16x Water 6L | 1 | n/a | n/a | n/a | n/a | n/a | n/a
1.128 | Southwest | Firgrove Block A & B - Cork County | P56EC57 | 2 | C-Tec |  | 140 | Yes | 100 | Yes | n/a | n/a | n/a | n/a | 1 | n/a | n/a | n/a
1.129 | Southwest | Cascade Block 1, 2, 3, 4, 5 & 6 - Cork County | T45R290 | 6 | Morley DXC-2 | Addressable | 450 | Yes | 350 | Yes | 80 - 14 x 2Kg CO2 | n/a | n/a | n/a | 4 | 5 | n/a | Yes 6 Units
1.13 | [10 empty] | 6 x 5Kg CO2
1.131 | [10 empty] | 4 x 6Kg Powder Abc
1.132 | [10 empty] | 56 x 6L Water
1.133 | Southwest | Glenlara Park 17A, 17 B 24A & 24B - Mayo | F28X4E2 | 4 | C-Tec | Conventional | 4 | No | 10 | Yes | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.134 | Southwest | Lena Theas 18, 19, 20 & 21 - Galway | H91X86W | 2 | Advanced | Addressable | 10 | Yes | 18 | Yes | 6x CO2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.135 | Southwest | Maigh Rua Block A & Block B - Galway | H91PH30 | 2 | Morley | Addressable | 80 | Yes | 28 | Yes | 8XCO2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.136 | Southwest | Cluain Ros Leamhain 46 & 47 - Clare | V95TV06 | 1 | C-Tec | Conventional | 51 | Yes | 8 | Yes | 3 - 1 x 2Kg CO2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.137 | [10 empty] | 1 x 6Kg PowderAbc
1.138 | [10 empty] | 1 x 6L Foam
1.139 | Southwest | Moineir Ros Leamhan 1 - 8 & 62 - 69 - Clare | V95F7XD | 2 | C-Tec | Conventional | 16 | Yes | 7 | Yes | 16 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.14 | Southwest | Inbhear na Sionna 9 & 10, 17 & 18 - Clare | V14PC56 | 2 | C-Tec | Conventional | 16 | Yes | 8 | Yes | N/A | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.141 | Southwest | Castleview Apt Block A Apt 2 & Block B Apt 3 - Roscommon | F42A329 | 2 | C-Tec | Addressable | 16 | Yes | 32 | Yes | 6 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.142 | Southwest | Amharc Muileann, Block 2 & 3 - Limerick | V9443F8 | 2 | Advanced Pro 5 | Addressable | 80 | Yes | 80 | Yes | 32 - 9 x 2Kg CO2 | n/a | n/a | n/a | 1 | n/a | n/a | n/a
1.143 | [10 empty] | 21 x 6L Water
1.144 | [10 empty] | 2 x 6KG PowderAbc
1.145 | Southwest | Meadow Grove Newtown Cobh Block A (Apt 3-6/7-12/13-21-24/25-28) - Cork | P24 FT28 | 6 | C-Tec XFP Fire Panel | Addressable | 60 | Yes | 80 | Yes | 24x Water 6L / 12 x Co2 2kg | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.146 | Southwest | Strand Hill, Tramore (17-361) - Waterford | X91K81C | 1 | C-Tec XFP Fire Panel | Addressable | 50 | Yes | 60 | Yes | 4x Water 6L 4x Co2 x 2kg | n/a | n/a | n/a | n/a | n/a | n/a | Yes1
1.147 | Southwest | Black Oak Rise, Newport (16-439) - Mayo | F28K0Y1 | 1 | C-Tec XFP Fire Panel | Addressable | 51 | Yes | 61 | Yes | 4x Water 6L 4x Co2 x 2kg | n/a | n/a | n/a | n/a | n/a | n/a | Yes1
1.148 | Southwest | Spancel Rise Fairfield Road Block A2 (17-412) - Cork | T23YDP2 | 0 |  |  | 4 | Yes | 4 | Yes | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.149 | Southwest | Spancel Rise Fairfield Road Block C (17-412) - Cork | T23YDP2 | 1 | C-Tec XFP Fire Panel | Conventional | 4 | Yes | 4 | Yes | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
1.15 | Southwest | Spancel Rise Fairfield Road Block B (17-412) - Cork | T23YDP2 | 1 | C-Tec XFP Fire Panel | Conventional | 4 | Yes | 4 | Yes | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a