The State Laboratory is tendering for a complete NIR instrument with all of the necessary accessories required for the operation of the instrument to be included. The vendor must supply a PC with the NIR instrument to allow it to operate, and this may be from a third party if necessary. If the proposed NIR instrument operates without the need for a typical PC, and can still meet all the criteria included in "Hardware and Software Requirements" (eg networking capabilities, compatibility with the stated endpoint security solution, connectivity to LIMS, etc), then the application will be considered. 
 

