# Appendix 1.4   Contractor Competency Matrix and Tender Returns

Tenderers shall complete this matrix and return it with the tender. Evidence of competency held, in-house or through a named subcontractor, is required at tender stage. Where a platform is to be obtained after award, the tender shall include the training booking or plan, and the certificates shall be provided within 8 weeks of award.

For every platform listed in Part 2, competency shall be held in-house, held through a named subcontractor, or committed to be obtained within 8 weeks of award. A platform marked ‘Not held’ makes the tender non-compliant for that platform.

## 1.4.1   Part 1: Company registrations

| Requirement | Held (Yes / No) | Evidence reference |
| --- | --- | --- |
| Safe Electric Registered Electrical Contractor (mandatory for the Contractor or a named subcontractor carrying out electrical work in Parts A and B) |  |  |
| Health and safety management certification: ISO 45001, Safe-T-Cert or equivalent |  |  |
| Quality management certification: ISO 9001 or equivalent |  |  |
| Current safety statement |  |  |
| Third-party certification for fire detection and alarm maintenance. Not required at tender. To be held within 12 months of award of contract, or 6 months from accreditation becoming available, whichever is later |  |  |

## 1.4.2   Part 2: Engineer competency by platform

For each platform, enter the names of the engineers and attach their training certificates, showing the issuing body, date and expiry date. Manufacturer training shall be issued by the manufacturer or its approved training body.

| System / platform | In-house (engineer names) | Named subcontractor | Obtain within 8 weeks | Not held |
| --- | --- | --- | --- | --- |
| Fire detection and alarm (competent person to I.S. 3218) |  |  |  |  |
| Advanced |  |  |  |  |
| Morley |  |  |  |  |
| C-Tec |  |  |  |  |
| Johnson Controls FireClass |  |  |  |  |
| Protec |  |  |  |  |
| Automatic opening vents |  |  |  |  |
| Colt |  |  |  |  |
| WindowMaster |  |  |  |  |
| Crossflow |  |  |  |  |
| Disabled refuge / EVC |  |  |  |  |
| Sigtel |  |  |  |  |
| Baldwin Boxall |  |  |  |  |
| Lexicom |  |  |  |  |
| Discipline competency |  |  |  |  |
| Emergency lighting (I.S. 3217) |  |  |  |  |
| Portable extinguishers (I.S. 291) |  |  |  |  |
| Sprinkler systems (I.S. EN 12845, BS 9251) |  |  |  |  |
| Fire pumps, diesel and electric |  |  |  |  |
| Dry risers and fire hydrants (I.S. 391) |  |  |  |  |
| Standby generators |  |  |  |  |
| Gas detection (manufacturer calibration) |  |  |  |  |
| Alarms within dwellings, including CO |  |  |  |  |
| Electrical installation (Safe Electric REC) |  |  |  |  |

Where asset verification identifies a platform not listed above, the Contractor shall provide evidence of competency on that platform within 8 weeks, or propose a named subcontractor for Tuath’s approval.

## 1.4.3   Part 3: Tender returns

Tenderers shall return the following with the tender, in addition to the returns required by the RFT.

| Item | Included (Yes / No) | Reference |
| --- | --- | --- |
| Proof of current Safe Electric registration |  |  |
| Manufacturer training certificates for every platform claimed in Part 2, showing the issuing body, the date and the expiry date where one applies |  |  |
| Sample service report, sample inspection report and sample certificate, for all systems |  |  |